## abbreviation
INTEGER[10] | VARCHAR[1000] | VARCHAR[1000] | VARCHAR[30]
abbreviation_id | description_german | description_english | abbreviation_budo | abbreviation_id(for SVERWEIS) | CREATE TABLE abbreviation(abbreviation_id INTEGER[10],description_german VARCHAR[1000],description_english VARCHAR[1000],abbreviation_budo VARCHAR[30], PRIMARY KEY(abbreviation_id))
0 |  |  |  | 0 | INSERT INTO abbreviation VALUES (0,' ','','');
1 | Betonkerntemperierung |  | CCA | 1 | INSERT INTO abbreviation VALUES (1,'Betonkerntemperierung','','CCA');
2 | Blockheizkraftwerk (BHKW) |  | CHP | 2 | INSERT INTO abbreviation VALUES (2,'Blockheizkraftwerk (BHKW)','','CHP');
3 | Fernkälte |  | C.DISCT | 3 | INSERT INTO abbreviation VALUES (3,'Fernkälte','','C.DISCT');
4 | Fernwärme |  | H.DISCT | 4 | INSERT INTO abbreviation VALUES (4,'Fernwärme','','H.DISCT');
5 | Freie Kühlung |  | C.FREE | 5 | INSERT INTO abbreviation VALUES (5,'Freie Kühlung','','C.FREE');
6 | Gaskühler |  | C.GAS | 6 | INSERT INTO abbreviation VALUES (6,'Gaskühler','','C.GAS');
7 | Gebäudeautomationssystem |  | BAS | 7 | INSERT INTO abbreviation VALUES (7,'Gebäudeautomationssystem','','BAS');
8 | Gebäudemanagementsystem |  | BMS | 8 | INSERT INTO abbreviation VALUES (8,'Gebäudemanagementsystem','','BMS');
9 | Kältemaschine |  | CH | 9 | INSERT INTO abbreviation VALUES (9,'Kältemaschine','','CH');
10 | Kessel |  | BOI | 10 | INSERT INTO abbreviation VALUES (10,'Kessel','','BOI');
11 | Kühlturm |  | C.TOW | 11 | INSERT INTO abbreviation VALUES (11,'Kühlturm','','C.TOW');
12 | Luft |  | AIR | 12 | INSERT INTO abbreviation VALUES (12,'Luft','','AIR');
13 | Lüftungsmaschine |  | AHU | 13 | INSERT INTO abbreviation VALUES (13,'Lüftungsmaschine','','AHU');
14 | Solarthermie |  | SOL.TH | 14 | INSERT INTO abbreviation VALUES (14,'Solarthermie','','SOL.TH');
15 | Speicher |  | STO | 15 | INSERT INTO abbreviation VALUES (15,'Speicher','','STO');
16 | Unterverteiler |  | DIST.SUB | 16 | INSERT INTO abbreviation VALUES (16,'Unterverteiler','','DIST.SUB');
17 | Unterverteilsystem |  | DISTS.SUB | 17 | INSERT INTO abbreviation VALUES (17,'Unterverteilsystem','','DISTS.SUB');
18 | Verteiler |  | DIST | 18 | INSERT INTO abbreviation VALUES (18,'Verteiler','','DIST');
19 | Verteilsystem |  | DISTS | 19 | INSERT INTO abbreviation VALUES (19,'Verteilsystem','','DISTS');
20 | Wärmepumpe |  | HP | 20 | INSERT INTO abbreviation VALUES (20,'Wärmepumpe','','HP');
21 | Wärmeübertrager |  | HX | 21 | INSERT INTO abbreviation VALUES (21,'Wärmeübertrager','','HX');
22 | Wasser |  | WS | 22 | INSERT INTO abbreviation VALUES (22,'Wasser','','WS');
23 | Rückkühlung |  | RCOO | 23 | INSERT INTO abbreviation VALUES (23,'Rückkühlung','','RCOO');
24 | Geothermiefeld |  | GTF | 24 | INSERT INTO abbreviation VALUES (24,'Geothermiefeld','','GTF');
25 | Brennwertkessel |  | COND | 25 | INSERT INTO abbreviation VALUES (25,'Brennwertkessel','','COND');
26 | Festbrennstoffkessel |  | SFUEL | 26 | INSERT INTO abbreviation VALUES (26,'Festbrennstoffkessel','','SFUEL');
27 | Niedertemperaturkessel |  | LT | 27 | INSERT INTO abbreviation VALUES (27,'Niedertemperaturkessel','','LT');
28 | Absorption |  | ABSPT | 28 | INSERT INTO abbreviation VALUES (28,'Absorption','','ABSPT');
29 | Kompression |  | COMP | 29 | INSERT INTO abbreviation VALUES (29,'Kompression','','COMP');
30 | Kältespeicher |  | C.STO | 30 | INSERT INTO abbreviation VALUES (30,'Kältespeicher','','C.STO');
31 | Kombispeicher |  | HDH | 31 | INSERT INTO abbreviation VALUES (31,'Kombispeicher','','HDH');
32 | Wärmespeicher |  | H.STO | 32 | INSERT INTO abbreviation VALUES (32,'Wärmespeicher','','H.STO');
33 | Warmwasser (TW) |  | DH | 33 | INSERT INTO abbreviation VALUES (33,'Warmwasser (TW)','','DH');
34 | Hochtemperatur |  | HT | 34 | INSERT INTO abbreviation VALUES (34,'Hochtemperatur','','HT');
35 | Kälte |  | CH | 35 | INSERT INTO abbreviation VALUES (35,'Kälte','','CH');
36 | Niedertemperatur |  | LT | 36 | INSERT INTO abbreviation VALUES (36,'Niedertemperatur','','LT');
37 | Verdampfer |  | EVAP | 37 | INSERT INTO abbreviation VALUES (37,'Verdampfer','','EVAP');
38 | Verdichter |  | COMP | 38 | INSERT INTO abbreviation VALUES (38,'Verdichter','','COMP');
39 | Verflüssiger |  | COND | 39 | INSERT INTO abbreviation VALUES (39,'Verflüssiger','','COND');

## category
INTEGER[10] | VARCHAR[200] | VARCHAR[200] | VARCHAR[30] | VARCHAR[1000]
category_id | category_name_german | category_name_english | abbreviation_category_budo | comment | category_id(for SVERWEIS) | CREATE TABLE category(category_id INTEGER[10],category_name_german VARCHAR[200],category_name_english VARCHAR[200],abbreviation_category_budo VARCHAR[30],comment VARCHAR[1000], PRIMARY KEY(category_id))
0 |  |  |  |  | 0 | INSERT INTO category VALUES (0,'','','','');
1 | System | System | SYS | not used as abbrevation | 1 | INSERT INTO category VALUES (1,'System','System','SYS','not used as abbrevation');
2 | Subsystem | Subsystem | SSYS | not used as abbrevation | 2 | INSERT INTO category VALUES (2,'Subsystem','Subsystem','SSYS','not used as abbrevation');
3 | Subsubsystem | Subsubsystem | SSSYS | not used as abbrevation | 3 | INSERT INTO category VALUES (3,'Subsubsystem','Subsubsystem','SSSYS','not used as abbrevation');
4 | Medium | Medium | MED | not used as abbrevation | 4 | INSERT INTO category VALUES (4,'Medium','Medium','MED','not used as abbrevation');
5 | Position Anlage | Position device | POSA | not used as abbrevation | 5 | INSERT INTO category VALUES (5,'Position Anlage','Position device','POSA','not used as abbrevation');
6 | Datenpunkt | Data Point | DP | not used as abbrevation | 6 | INSERT INTO category VALUES (6,'Datenpunkt','Data Point','DP','not used as abbrevation');
7 | Funktionsart | Function type | FT | not used as abbrevation | 7 | INSERT INTO category VALUES (7,'Funktionsart','Function type','FT','not used as abbrevation');
8 | Gebäude | building | BL |  | 8 | INSERT INTO category VALUES (8,'Gebäude','building','BL','');
9 | Liegenschaft/Standort/Werk | location | L |  | 9 | INSERT INTO category VALUES (9,'Liegenschaft/Standort/Werk','location','L','');
10 | Gewerk | craft | CR |  | 10 | INSERT INTO category VALUES (10,'Gewerk','craft','CR','');
11 | Raum Gerät | room device | R.D |  | 11 | INSERT INTO category VALUES (11,'Raum Gerät','room device','R.D','');
12 | Geschoss Gerät | floor device | FL.D |  | 12 | INSERT INTO category VALUES (12,'Geschoss Gerät','floor device','FL.D','');
13 | Gebäudeteil Gerät | section device | SC.D |  | 13 | INSERT INTO category VALUES (13,'Gebäudeteil Gerät','section device','SC.D','');
14 | Zone | zone | Z |  | 14 | INSERT INTO category VALUES (14,'Zone','zone','Z','');
15 | Fertigungsinsel/Fertigungslinie | production line | PL |  | 15 | INSERT INTO category VALUES (15,'Fertigungsinsel/Fertigungslinie','production line','PL','');
16 | Informationsschwerpunkt | information focus | ISP |  | 16 | INSERT INTO category VALUES (16,'Informationsschwerpunkt','information focus','ISP','');
17 | Wirtschaftseinheit/Kostengruppe | accounting entity | AE |  | 17 | INSERT INTO category VALUES (17,'Wirtschaftseinheit/Kostengruppe','accounting entity','AE','');
18 | Land | country | CTRY |  | 18 | INSERT INTO category VALUES (18,'Land','country','CTRY','');
19 | Typ der Netzwerkanbindung | network protocol | NP |  | 19 | INSERT INTO category VALUES (19,'Typ der Netzwerkanbindung','network protocol','NP','');
20 | Netzwerknummer | network number | NET.N |  | 20 | INSERT INTO category VALUES (20,'Netzwerknummer','network number','NET.N','');
21 | Raum Schaltschrank | room control cabinet | R.CC |  | 21 | INSERT INTO category VALUES (21,'Raum Schaltschrank','room control cabinet','R.CC','');
22 | Geschoss Schaltschrank | floor control cabinet | FL.CC |  | 22 | INSERT INTO category VALUES (22,'Geschoss Schaltschrank','floor control cabinet','FL.CC','');
23 | Gebäudeteil Schaltschrank | section control cabinet | SC.CC |  | 23 | INSERT INTO category VALUES (23,'Gebäudeteil Schaltschrank','section control cabinet','SC.CC','');
24 | Dokumentenart/Planart | document type | DT |  | 24 | INSERT INTO category VALUES (24,'Dokumentenart/Planart','document type','DT','');
25 | Unternehmen | company | CMPY |  | 25 | INSERT INTO category VALUES (25,'Unternehmen','company','CMPY','');
26 | Fabrikat/Hersteller | manufacturer | MAN |  | 26 | INSERT INTO category VALUES (26,'Fabrikat/Hersteller','manufacturer','MAN','');
27 | Servername | server name | SN |  | 27 | INSERT INTO category VALUES (27,'Servername','server name','SN','');
28 | Steuerungsgruppe | control group | CG |  | 28 | INSERT INTO category VALUES (28,'Steuerungsgruppe','control group','CG','');
29 | Größe | size | SZ |  | 29 | INSERT INTO category VALUES (29,'Größe','size','SZ','');
30 | Zählernummer | counter number | CN.N |  | 30 | INSERT INTO category VALUES (30,'Zählernummer','counter number','CN.N','');
31 | Achse | axis | AX |  | 31 | INSERT INTO category VALUES (31,'Achse','axis','AX','');
32 | Straße | street | STR |  | 32 | INSERT INTO category VALUES (32,'Straße','street','STR','');
33 | Hausnummer | street number | STR.N |  | 33 | INSERT INTO category VALUES (33,'Hausnummer','street number','STR.N','');
34 | Einheit | unit | U |  | 34 | INSERT INTO category VALUES (34,'Einheit','unit','U','');
35 | Versorgter Raum | supplied room | R.SUP |  | 35 | INSERT INTO category VALUES (35,'Versorgter Raum','supplied room','R.SUP','');
36 | Versorgtes Geschoss | supplied floor | FL.SUP |  | 36 | INSERT INTO category VALUES (36,'Versorgtes Geschoss','supplied floor','FL.SUP','');
37 | Versorgte Zone | supplied zone | Z.SUP |  | 37 | INSERT INTO category VALUES (37,'Versorgte Zone','supplied zone','Z.SUP','');
38 | Versorgter Gebäudeteil | supplied section | SC.SUP |  | 38 | INSERT INTO category VALUES (38,'Versorgter Gebäudeteil','supplied section','SC.SUP','');
39 | Versorgtes Gebäude | supplied building | BL.SUP |  | 39 | INSERT INTO category VALUES (39,'Versorgtes Gebäude','supplied building','BL.SUP','');

## category_assignment
|  |  | INTEGER[10] | INTEGER[10] | INTEGER[10] | CREATE TABLE category_assignment(category_assignment_id INTEGER[10],category_id INTEGER[10],abbreviation_id INTEGER[10], PRIMARY KEY(category_assignment_id))
category_assignment_id | category | description_german | category_assignment_id | category_id | abbreviation_id
1 | System | Betonkerntemperierung | 1 | 1 | 1 | INSERT INTO category_assignment VALUES (1,1,1);
2 | System | Blockheizkraftwerk (BHKW) | 2 | 1 | 2 | INSERT INTO category_assignment VALUES (2,1,2);
3 | System | Fernkälte | 3 | 1 | 3 | INSERT INTO category_assignment VALUES (3,1,3);
4 | System | Fernwärme | 4 | 1 | 4 | INSERT INTO category_assignment VALUES (4,1,4);
5 | System | Freie Kühlung | 5 | 1 | 5 | INSERT INTO category_assignment VALUES (5,1,5);
6 | System | Gaskühler | 6 | 1 | 6 | INSERT INTO category_assignment VALUES (6,1,6);
7 | System | Gebäudeautomationssystem | 7 | 1 | 7 | INSERT INTO category_assignment VALUES (7,1,7);
8 | System | Gebäudemanagementsystem | 8 | 1 | 8 | INSERT INTO category_assignment VALUES (8,1,8);
9 | System | Kältemaschine | 9 | 1 | 9 | INSERT INTO category_assignment VALUES (9,1,9);
10 | System | Kessel | 10 | 1 | 10 | INSERT INTO category_assignment VALUES (10,1,10);
11 | System | Kühlturm | 11 | 1 | 11 | INSERT INTO category_assignment VALUES (11,1,11);
12 | System | Luft | 12 | 1 | 12 | INSERT INTO category_assignment VALUES (12,1,12);
13 | System | Lüftungsmaschine | 13 | 1 | 13 | INSERT INTO category_assignment VALUES (13,1,13);
14 | System | Solarthermie | 14 | 1 | 14 | INSERT INTO category_assignment VALUES (14,1,14);
15 | System | Speicher | 15 | 1 | 15 | INSERT INTO category_assignment VALUES (15,1,15);
16 | System | Unterverteiler | 16 | 1 | 16 | INSERT INTO category_assignment VALUES (16,1,16);
17 | System | Unterverteilsystem | 17 | 1 | 17 | INSERT INTO category_assignment VALUES (17,1,17);
18 | System | Verteiler | 18 | 1 | 18 | INSERT INTO category_assignment VALUES (18,1,18);
19 | System | Verteilsystem | 19 | 1 | 19 | INSERT INTO category_assignment VALUES (19,1,19);
20 | System | Wärmepumpe | 20 | 1 | 20 | INSERT INTO category_assignment VALUES (20,1,20);
21 | System | Wärmeübertrager | 21 | 1 | 21 | INSERT INTO category_assignment VALUES (21,1,21);
22 | System | Wasser | 22 | 1 | 22 | INSERT INTO category_assignment VALUES (22,1,22);
23 | System | Rückkühlung | 23 | 1 | 23 | INSERT INTO category_assignment VALUES (23,1,23);
24 | System | Geothermiefeld | 24 | 1 | 24 | INSERT INTO category_assignment VALUES (24,1,24);
25 | Subsystem | Blockheizkraftwerk (BHKW) | 25 | 2 | 2 | INSERT INTO category_assignment VALUES (25,2,2);
26 |  |  | 26 | #N/A | #N/A
27 |  |  | 27 | #N/A | #N/A
28 |  |  | 28 | #N/A | #N/A
29 |  |  | 29 | #N/A | #N/A
30 |  |  | 30 | #N/A | #N/A
31 |  |  | 31 | #N/A | #N/A
32 |  |  | 32 | #N/A | #N/A
33 |  |  | 33 | #N/A | #N/A
34 |  |  | 34 | #N/A | #N/A
35
36
37
38
39
40
41
42
43
44
45
46
47
48

## parent_children
|  |  | INTEGER[10] | INTEGER[10] | INTEGER[10]
parent_children_id | parent | children | parent_children_id | parent_id | children_id | System | . | System_2 | System_3 | CREATE TABLE parent_children(parent_children_id INTEGER[10],parent_id INTEGER[10],children_id INTEGER[10], PRIMARY KEY(parent_children_id))
1 | Kessel | Brennwertkessel | 1 | 10 | 25 | Kessel |  |  | Brennwertkessel | INSERT INTO parent_children VALUES (1,10,25);
2 | Kessel | Festbrennstoffkessel | 2 | 10 | 26 | Kältemaschine |  | #NAME? | Absorption | INSERT INTO parent_children VALUES (2,10,26);
3 | Kessel | Niedertemperaturkessel | 3 | 10 | 27 | Betonkerntemperierung |  |  | #N/A | INSERT INTO parent_children VALUES (3,10,27);
4 | Kältemaschine | Absorption | 4 | 9 | 28 |  |  |  | FALSE | INSERT INTO parent_children VALUES (4,9,28);
5 | Kältemaschine | Kompression | 5 | 9 | 29 |  |  |  | FALSE | INSERT INTO parent_children VALUES (5,9,29);
6 | Speicher | Kältespeicher | 6 | 15 | 30 |  |  |  | FALSE | INSERT INTO parent_children VALUES (6,15,30);
7 | Speicher | Kombispeicher | 7 | 15 | 31 |  |  |  | FALSE | INSERT INTO parent_children VALUES (7,15,31);
8 | Speicher | Wärmespeicher | 8 | 15 | 32 |  |  |  | FALSE | INSERT INTO parent_children VALUES (8,15,32);
9 | Speicher | Warmwasser (TW) | 9 | 15 | 33 |  |  |  | FALSE | INSERT INTO parent_children VALUES (9,15,33);
10 | Verteiler | Hochtemperatur | 10 | 18 | 34 |  |  |  | FALSE | INSERT INTO parent_children VALUES (10,18,34);
11 | Verteiler | Kälte | 11 | 18 | 35 |  |  |  | FALSE | INSERT INTO parent_children VALUES (11,18,35);
12 | Verteiler | Niedertemperatur | 12 | 18 | 36 |  |  |  | FALSE | INSERT INTO parent_children VALUES (12,18,36);
13 | Unterverteiler | Hochtemperatur | 13 | 16 | 34 |  |  |  | FALSE | INSERT INTO parent_children VALUES (13,16,34);
14 | Unterverteiler | Kälte | 14 | 16 | 35 |  |  |  | FALSE | INSERT INTO parent_children VALUES (14,16,35);
15 | Unterverteiler | Niedertemperatur | 15 | 16 | 36 |  |  |  | FALSE | INSERT INTO parent_children VALUES (15,16,36);
16 | Verteilsystem | Hochtemperatur | 16 | 19 | 34 |  |  |  | FALSE | INSERT INTO parent_children VALUES (16,19,34);
17 | Verteilsystem | Kälte | 17 | 19 | 35 |  |  |  | FALSE | INSERT INTO parent_children VALUES (17,19,35);
18 | Verteilsystem | Niedertemperatur | 18 | 19 | 36 |  |  |  | FALSE | INSERT INTO parent_children VALUES (18,19,36);
19 | Unterverteilsystem | Hochtemperatur | 19 | 17 | 34 |  |  |  | FALSE | INSERT INTO parent_children VALUES (19,17,34);
20 | Unterverteilsystem | Kälte | 20 | 17 | 35 |  |  |  | FALSE | INSERT INTO parent_children VALUES (20,17,35);
21 | Unterverteilsystem | Niedertemperatur | 21 | 17 | 36 |  |  |  | FALSE | INSERT INTO parent_children VALUES (21,17,36);
22 | Wärmepumpe | Verdampfer | 22 | 20 | 37 |  |  |  | FALSE | INSERT INTO parent_children VALUES (22,20,37);
23 | Wärmepumpe | Verdichter | 23 | 20 | 38 |  |  |  | FALSE | INSERT INTO parent_children VALUES (23,20,38);
24 | Wärmepumpe | Verflüssiger | 24 | 20 | 39 |  |  |  | FALSE | INSERT INTO parent_children VALUES (24,20,39);

## Tabellen für Excel
System | Kürzel
Blockheizkraftwerk (BHKW) | CHP
Fernkälte | C.DISCT
Fernwärme | H.DISCT
Freie Kühlung | C.FREE
Gaskühler | C.GAS
Gebäudeautomationssystem | BAS
Gebäudemanagementsystem | BMS
Kältemaschine | CH
Kessel | BOI
Kühlturm | C.TOW
Luft | AIR
Lüftungsmaschine | AHU
Solarthermie | SOL.TH
Speicher | STO
Unterverteiler | DIST.SUB
Unterverteilsystem | DISTS.SUB
Verteiler | DIST
Verteilsystem | DISTS
Wärmepumpe | HP
Wärmeübertrager | HX
Wasser | WS